## Sheet1
Tender: "Procurement of Core Banking System Hardware" (LOT # 1 & 2)
NT-08/15/2023-5
Query & Reply
Nos. | Query | Response
1 | Point#3 The proposed solution should Support minimum 12 x 32Gbps FC ports and 8 x10GbE ports per Controller / Node or equivalent to provide scalable, dedicated connectivity to hosts and remote replication. Query: With HPE Alletra NVMe storage, we support upto 12 host ports per controller, you are requested to allow us to configure 8 x 32Gb FC ports and 4 x 10GbE ports controller. Moreover, as per LOT -02 you require 8 SAN switches and assumed storage connectivity would be through SAN switches, above ports are sufficient for SAN connectivity and meet most of extreme performance throughputs. | The requirements and specifications desired by the bank and mentioned in the bid are generic and all major brands also support the same. Based on the same, vendors required to participate in the tender bid.
2 | Point#9 Cache Memory: Must be capable to manage high performing workloads for huge enterprises / environments (i.e. minimum 512 GB per Controller / Node) with future scalability up to 1 TB or equivalent (Non-Disk Based) Query: With Alletra controller we have 768GiB cache per controller, Future cache memory upgrade per storage array can be achievable with controller upgrades. | The requirements and specifications desired by the bank and mentioned in the bid are generic and all major brands also support the same. Based on the same, vendors required to participate in the tender bid.
3 | Point#18 Must meet maximum 5-8 Millions IOPS with the evidence from OEM. Query: Please remove this statement, these are majorly hero performance or marketing numbers and varies from vendor to vendor with no. of supported controllers and various workload profile and other parameters, which are generally tested in Labs only. Please share what IOPS, latency and throughput you seek from proposed storage for your workloads. | The requirements and specifications desired by the bank and mentioned in the bid are generic and all major brands also support the same. Based on the same, vendors required to participate in the tender bid.
4 | clarify the support of licenses Vmware and Veeam should be of 3 years or 5 years. As in the tender, there is a conflict between “technical specifications” Vs “Price Schedule Form” of Lot 1 | Support of licenses Vmware and Veeam should be for 5 years of Lot1.
5 | please let us know if bidder need to prepare separate Technical and Financial proposal of each lot. | Yes. As per single stage -two envelop procedure for each lot.
6 | we as a bidder understand from the Tender that you will be required VMware & Veeam Principal Support for 3 Years and Local Vendor Support for 5 Years. Please let me know if we have a correct understanding. | As per Point no 4. we further clarify for bidder understanding that Licenses required for 3 Years and Local Support and Services requested for 5 years which also mention in SBD Price Schedule Form 1st , 2nd , 3rd, 4th and 5th year separately
7 | This is to inform that in the Bid Document, in the Introduction on page # 10 of bidding document, it is written that Eligible Bidder can be joint venture or consortium. But on page # 38, it is written that JV is Not applicable. This is creating a bit of confusion, so please help to clarify if Bidder can participate in JV or Not? | Page # 10 of the bidding document refers to General Instructions to Bidders (ITB) to help bidders prepare their bid, as per generic rules. ITB is mandatory part of any PPRA Standard Bidding Document (SBD) and it shall be used without modifications by any PA. While page # 38 refers to Bid Data Sheet (BDS) instructions that are specific to this project wherein Joint Venture is Not Allowed / Applicable in this tender.
8 | In case JV is allowed, then there is query that if Bidder is participating via Joint Venture, then is it necessary that Lead partner fulfill the clauses mentioned in section 13.3(b), or partner who is part of JV can fulfill this requirement. | JV is not allowed / applicable in this tender.