## Sheet1
"PROCUREMENT OF SERVER HARDWARE FOR BUSINESS & ITG PROJECTS"
Query & Response
S.no | Query | Response
1 | As per the install base of NBP, HPE Synergy 12000 have 1* Virtual Connect 100 GBE F32 Module per Chassis and do not have FC San Switches. Therefore, only 1* dual port 10/20/25 GBE CNA or 1*dual port 25/50 GBE CNA will be feasible for per Server requirement in point#2.6 mentioned below. Please clarify. | HP synergy 12000 converged network adapters technology in virtual connect can be used for FC and Ethernet simultaneously. Blade to VC connectivity also be managed as per the requirement of FC & Ethernet. Currently we have 2 VC per Chassis hope it will clarify the point 2.6 & 2.7
2 | Point# 2.7 will not be required because of FC SAN Switch. Please clarify. 2.6) 2 x Dual Port 10/25/40/100 GbE Converged Network Adapter (for iSCSI and FC traffic) equivalent or higher. 2.7) 2 x Dual Port 32/64 Gbps FC HBA (for iSCSI and FC traffic) equivalent or higher | Bidder quoted blade servers are must be compitable to provison 4 FC Ports & 4 Ethernet Port for resilience connectivity with virtual connects as mention before per chassis we have 2 VC
3 | Also, please note that delivery timeline mentioned in the tender is not acceptable due to current conditions and restriction of LC applied by the government. Please look into it | Bidders have to comply with all the reqired items and delviery schedule as per the Bidding docment.
4 | Need to confirm How many Years upfront support required in HPE Synergy and Swift Tender Server, In case of 3Year upfront, 4th and 5th Years Prices should be quoted Separately? | Bidder has to quote each item separately and payment may be processed as per paymennt plan specified in SBD section 5 i.e annual payment for warranty / support
5 | Since NBP already procured HPE Synergy Solution, HPE Synergy 480Gen10+ Compute is equipped with 1 x Dual Port 4820 CNA which will connect with 2 x HPE Virtual Connect 100G/F32, So 1 x Dual Port 4820 CNA will manage the Ethernet and SAN Connectivity, Need clarification w.r.t Point# 2.6. | HP synergy 12000 converged network adapters technology in virtual connect can be used for FC and Ethernet simultaneously. Blade to VC connectivity also be managed as per the requirement of FC & Ethernet. Currently we have 2 VC per Chassis hope it will clarify the point 2.6 & 2.7
6 | Since CNA card already equipped in each Compute Blades so additional FC HBA will not require w.r.t Point# 2.7. | Bidder quoted blade servers are must be compitable to provison 4 FC Ports & 4 Ethernet Port for resilience connectivity with virtual connects as mention before per chassis we have 2 VC
7 | In Swift Server Tender, NBP Need to confirm that they have 64Gbps SAN Switches ? | Not Relevant Question with Tender ID: NT-03/03/2023-1 "Procurement of Server Hardware for Business & ITG Projects
8 | Please advise if this refers to back-to-back OEM Support / Warranty by Principal, where bidder will provide on-ground local support, whereas L1, L2, and L3 remote support will remain with HPE Support for diagnostics, troubleshooting and resolution for the cases logged to HPE? | NBP needs round the clock support service local as well as principal to avoid any longer service outage incase of disruption
9 | As mentioned in the RFP Cables also required, Cables and all accessories are already shipped with the existing HPE Synergy Solution. In this Synergy RFP, Only Compute Blades will be shipped. | As part of BoQ, NBP needs all required accesserios for their integration with HPE Blade chasis to avoid any roadblock during deployment and comsisoing of blades into chasis if neccessory.
10 | If any bidder includes proposed solution financial details (i.e. price, cost, bid security amount, etc.) in its TECHNICAL PROPOSAL, its bid will be considered as Technically non-responsive | Original Bid Security in the form of Bank Guarantee to be included with Technical Proposal .
11 | Is it mandatory to fill all the standard forms mentioned in the tender if its not relevant? | Yes, it is mandatory to fill and duly sign all of the standard forms of the SBD